| The | OVERVIEW Model risk assessments (School Premises and School Operations) and supporting guidance on operating procedures have been developed for maintained schools and settings in consultation with our Trade Union colleagues and relevant service areas. Each maintained setting should undertake their own risk assessment following this format – Cumbria County Council, as the employer in the above settings will support and guide Governing Bodies and School Leaders to manage a planned and safe gradual return to school but recognise that local decisions to open or not MUST follow a risk based approach appropriate to the resources and capacity of each individual setting. Other types of schools are welcome to use these models to help their own planning and risk assessment approach but must ensure that they prioritise their own employer’s health and safety management procedures. This document is a template to be used to help Governing Bodies and Head teachers develop and tailor a site-specific risk assessment in relation to COVID-19. Below is a list of potential of hazards within our premises and the recommended control measures which apply to the majority of settings to aim to help you manage risks to the lowest possible level. Control shown follow current available guidance and best practice Head teachers/ Governing Bodies are responsible for monitoring the advice and guidance available, ensuring Risk Assessments and Safe Working Practices are updated where applicable and cascaded through to employees. They must ensure that compliance is monitored and any emerging issues addressed appropriately. You should refer to the CCC guidance provided to accompany this model as well as referenced national guidance – PLEASE NOTE: that your risk assessments should outline YOUR agreed control measures following your local planning processes – Any additional control measures you identify are required should be added to the additional controls column, along with who is responsible and a timescale. All employees working within the premises should receive site specific information on the controls implemented within their workplaces. Help and Support is available with the development of your risk assessment through The County Council’s Corporate Health and Safety Team healthandsafety@cumbria.gov.uk Please note that the Local Authority liaising with contractors working on its behalf to ensure that they are undertaking effective liaison with occupiers BEFORE attending site – Contractors asked to provide key information in relation to how they are managing infection control. This risk assessment refers to current national guidance and is listed at the end of this document and within accompanying guidance RA Reference; Enter Your RA Ref; Activity Description; COVID-19 - Infection Prevention and Control – SCHOOL PREMISES. Assessment Date; 24th MAY 2020; Assessor Name; David Holmes. Assessment Team Members; S. Guest, A Brewerton; Planned Review Date; Daily with reference to County, DFE and Kym Allen updates. Location; Vickerstown Primary School; Number Of People Exposed; 52. Overall Residual Risk Level following implementation of effective control measures; 12– Medium risk Given the current Public Health information it remains likely that COVID-19 will continue to spread although for the majority of persons effects will be of minor severity; People Exposed; All Employees 20 Pupils 32 Visitors 0 Contractors 0 Members of the public 0 Vulnerable Children/ Adults 5 children Persons with pre-existing medical conditions 3 First Aiders 19 New/ Expectant Mothers 0. Assessment Last Updated; 26/5/2020; Is this an acceptable risk?; Yes/ No. Hazard Description and How are people at risk; Current Control Measures (Those that are in place); Potential Risk; Additional Control Measures (To be identified and implemented); Action Details by Whom By When; Residual Risk. Spread of COVID-19 School Operations/ Management; - We follow current government guidance, HR and Public Health Guidance in respect of who can return to work - We have developed an accompanying COVID-19 School Operations risk assessment and communicated this to all staff and their safety representatives - Planning undertaken to identify safe occupancy/ staff ratio capacity and activity/ timetable planning to ensure social distancing measures can be maintained as far as reasonably practicable. - Effective communication routes established to ensure that all staff returning to work have been provided with specific training/ information provided with detailing the required safe working arrangements and emergency measures in place. - All staff made aware of Actions for Schools during the coronavirus outbreak guidance - All staff adhere to any instructions, advice, guidance and site rules provided to them.; Medium; - Induction/ staff handbook updated in line with COVID-19 risk assessment review - Staying COVID-19 Secure in 2020 poster displayed dated and include LA H&S Team contact information / TU H&S Representative details where relevant. - Out of Hours contact information for Local Authority Health and Safety Team displayed.; Headteacher staff induction and communication. By 02/06/2020 DH printed off sent to all attending staff. Re-visit in induction 2/6/2020 DH to display on board in entrance, all staff made aware in induction.. Re-occupation – control of premises related hazards School premises/ building related health and safety management / outdoor spaces/ fixed / mobile equipment Ensuring the School Premises is fit for re-opening after extended closure To prevent ill health or injury to Staff and pupils returning to the setting and to maintain statutory compliance.; - Premises/ H&S inspection and required statutory checks/inspections (Building and Outdoors areas) have been completed prior to reoccupation. - Essential remedial actions have been undertaken to ensure that the school premises and its outdoor areas are safe for re-occupation. - Water Systems Suitable remedial actions have taken place to ensure that water systems are fit for use with legionella/ water hygiene controls in place - Kitchen equipment/ seldom used outlets included in flushing and cleaning regimes Gas/ Electrical systems Gas/ Electrical safety checks have been carried out and system is safe to operate. - Fire Safety Management Systems - Fire Safety Management systems have been checked, fire alarm, emergency lighting, fire safety equipment in place and functional. - Fire RA and emergency evacuation procedures are reviewed in place with any changes to fire escape routes communicated to all. (See Emergency Procedures) - Fire drills will continue in line with normal procedures but observing guidance and social distancing at assembly points (it is recognised that the ability to main social distancing in an emergency evacuation situation is not easily achievable) - Asbestos Monitoring - Visual asbestos monitoring undertaken to ensure that any in-situ ACMs remain in good condition. - Lifts and Lifting Equipment/ Pressure Systems - Thorough examinations and testing of lifts, lifting and pressure equipment carried out during the coronavirus outbreak following the updated HSE guidance - Security Systems - Security systems have been checked and are operational - Ventilation - Premises will remain well ventilated, where possible using natural ventilation (opening windows) and/ or - Mechanical ventilation systems - Air Conditioning/Ventilation systems have been serviced and checked in line with guidance provided by CIBSE (Chartered Institute of Building Services Engineers) and REHVA (Federation of European Heating, Ventilation & Air Conditioning Association) - Toilet Ventilation - Toilet ventilation runs 24/7 in operation. (Avoid open windows in toilets when mechanical ventilation in place to ensure right direction of ventilation) - Occupants are instructed flush toilets with the lid closed.; Medium; - Headteacher to carry out building/premises/outdoor audit, using usual Governors inspection sheet. This will be done once inspection finished. Throughout our time as a hub Legionella testing has been carried out by Interserve and all taps flushed regularly by DH. This has been done as part of the above regime. This has been done by DH, JMcN to check once school re-opens on a regular basis. Site manager has continued the weekly testing of call points and sprinkler system. With the proposed one way system on the learning street, we will practice with children once on site, as they may also be in unfamiliar classrooms. This will be re-inforced by staff and DH also staff must close doors by removing wedges in doors on leaving the building. Not applicable This will have to be done, but at the moment not high on list of priorities. Yes all checked and working. As part of staff induction, windows being open as much as possible will be highlighted by DH. Done as part of Legionella by contractor. All toilet fans in internal toilets working. 20/5/2020DH All child toilets have seat lids, 4 being purchased for adult bathrooms.; DH, by 28th May. One-way entry system, social distancing markings in schoo, clearing rooms etc. DH has detailed plan for getting buildings and grounds ready for occupation. These checks will carry on as normal once we re-open. JF/DH As above DH/JF/JmCN DH/CoG weekly checking regime once re-opened. These will continue as usual once school re-opens. DH to perform fire drill every week as new children may come back to school, also new staff. DH, weekly testing. DH/JF to have got a date for testing of the hoist if needed by end of 2nd week 12/6/2020 Normal usage will determine any maintenance needed as in normal school opening. This will form part of on-going assessment once we re-open, staff will be constantly reminded about it. Any faults as usual will be written in faults book JF made aware. Site manager fitting before school re-opens. DH to check.. Cleaning/ Hygiene/ Waste - Premises Hazards in relation to lack of cleaning/ hygiene/ waste management; - All areas and surfaces cleaned and disinfected prior to reopening. - Kitchen and/or food preparation areas deep cleaned prior to reopening before food preparation resumes. - Outside spaces used for learning where possible - Outdoor equipment – taken out of use with access prevented by means of suitable barriers - OR - Outdoor equipment cleaned regularly, before and after use and between groups. - Suitable personnel resources in place to ensure robust cleaning including high contact areas, handwashing and hygiene procedures in place in line with PHE guidance appropriate to settings - Suitable quantities of cleaning/ hygiene materials available - Safe storage of cleaning materials to ensure that these are kept out of reach of children. - Hand hygiene procedures widely promoted and adhered to with provision/ promotion of the use of sanitising hand gel (60-70% alcohol) as required for those without easy access to suitable handwashing facilities. - Additional resources/ cleaning regimes agreed with cleaning contractors - Sufficient handwashing facilities are available sinks, soap and towels - Supplies of hand sanitiser available at entrance points and where there are no sinks - Staff and pupils reminded of frequent hand washing requirements - Regular cleaning and disinfection of surface that are touched more frequently (high contact points) - Drinking fountains taken out of use - Safe systems of work developed locally to ensure appropriate measures are in place for laundering, cleaning and decontamination of soiled items/ equipment. - Arrangements in place for the disposal of clinical waste and general lidded bins provided where required. - Kitchens to be deep cleaned prior to opening. - Pest control measures are in place - Suitable signage and visual instructions displayed as required; Ongoing and regular reminders - promotion of developing national guidance in relation to COVID-19 All of school will have been deep cleaned by the time we re-open. Offices will need to be re-done the first week back. Teachers told to be outside as much as possible. DH Induction before re-opening. DH to check if this refers to static equipment or balls etc. Be easier to keep off permanent equipment. Give each Bubble its own play equipment. Each Bubble room to have its own supply of cleaning/sanitising products, central supplies kept by JF. Staff inform JF of low supplies in good time to allow adequate time for re-supply. These should be child safe anyway but teachers in control in the classrooms. Constant reminders form staff, all occupiers to wash hands when entering the building. Put the lid down on the toilet then wash hands. Signage regarding hand washing at every entrance and in main entrance. Hand washing station purchased for main entrance. Yes Yes Yes All staff at induction before re-opening, told about disinfecting all frequently used surfaces, with anti bac wipes. Yes must be done AB to check before re-opening. Yes as staff have been trained as part of their normal role. Usual company still emptying our soiled bins. Classrooms used need bins with lids, we have enough in classrooms throughout school to move to rooms where needed. Yes. Yes Yes; DH to check that all areas have been deep cleaned by Orian. DH to encourage outdoor work as much as possible. All staff maintain their Bubble’s equipment to ensure no cross over of equipment. DH check Staff in each Bubble to carry out inventories of supplies. Report to JF. DH all staff to promote hand hygiene. Constant re-visiting. Check for signage all around school. DH to see every entrance and toilet has enough signage before re-opening. JF/DH to check JF/DH to check All staff All staff at the end of each session morning and afternoon. DH to check DH induction before re-opening, also DH inform staff about dealing with sickness involving liquids. Have designated room for this kind of sickness to wait to be collected, staff given appropriate PPE waterproof masks, gloves and plastic aprons whilst dealing, waiting with the children. Room then cleaned down. Induction, if we have to get rid of soiled rubbish double bag it whilst wearing gloves. DH check prior to re-opening.. Access/ Egress Controlling the risks from visitors to premises including contractors/ deliveries.; - Signage displayed giving clear instructions of rules, routes and access/egress points - Operational risk assessment details safe transport guidance promoted to staff and parents - Protocols in place for drop off and pick up times - Non-essential visits to schools prohibited. - Visiting restricted and managed for essential access only (Eliminate the need for the visit? (Use of technology to carry out appointments) prior appointment system, Access controls used) - Effective contractor management procedures in place to manage access for essential works/ statutory maintenance/ testing. - Where essential access is permitted social distancing measures followed and access to undertake work/ services managed to avoid groups/ cohorts) (2m) - Deliveries to me made observing social distancing no goods or food physically handed over. - Delivery drop-off points agreed in advance. - All staff responsible for ensuring that they are fit and well to attend work.; School website updated to be updated together with local cascade of clear guidance for parents on the precautions and site rules to be followed. Posters displayed throughout the premises to follow social distancing. Posters on the signs and symptoms of Covid-19. Also communicated in letter form to parents of children when they are selected to return, not just one letter at the start of re-opening. All of these points will be addressed in the letter DH sends. Yes will be, staging being fixed, IT installed. All contractors will be isolated away from staff and children as much as possible. Yes We will monitor this but all deliveries during the Hub have been very good from this point of view, we know good practice. DH to share current COVID-19 signs and symptoms info during induction.; DH high profile in the playground at drop off and pick up points. One-way system from Latona Street, socially distanced marking points outside classrooms and main entrance. Only one at a time in the main entrance, Office staff to wear Gloves, masks as needed. DH to be in charge of implementing this so it is consistent. Also that it is followed correctly. DH to monitor. JF/HW/JMcN will not accept deliveries unless done correctly. DH to monitor all directives from CCC, PHA DFE for up to date information. On a daily basis.. Shared Premises; - Suitable communication on Risk Assessment and risk management for each occupant has taken place. - Site rule for common areas are in place and communicated to relevant occupants/ others. - All staff adhere to any instructions, advice, guidance and site rules provided to them.; Staff room out of action for sitting, except chairs socially distanced for well-being time. Drink making facilities changed to only allow one person at the sink/countertop at a time. Provide enough tea making equipment for each bubble.; DH to assess any other shared areas and their H+S issues.. Safe Routes/ Markings; - We have developed an accompanying COVID-19 School Operations risk assessment and communicated this to all staff and their safety representatives - Planning undertaken to identify safe occupancy/ staff ratio capacity and activity/ timetable planning to ensure social distancing measures can be maintained as far as reasonably practicable. - Planning undertaken and physical alterations/ markings made to implement safe routes from arrival to departure for all users of the school. - Physical layouts/ plan established to ensure social distancing as far as possible - One way systems in use - Signage and floor graphics/ barriers used - Pupil/staff cohorts remain together at all times Social distancing limits occupancy in offices and staff rooms – staff instructed to remain with cohort/groups and not mix with others.; This will be an ongoing document as we develop our practices for more children attending. Yes when DH knows how many staff and children will attend. Current thinking max of 10 children 2 staff in each room. Desks moved, children shown where to sit. Where to keep their packed lunches after they have been wiped down on entry. SEE PLAN SEE PLAN SEE PLAN SEE PLAN; DH to communicate this on induction to all staff on them re-entering the school to work for the first time. DH to write up all of this in a plan to accompany this risk assessment. DH DH DH DH. Toilets; - Groups / break times managed effectively to restrict the numbers of people using the toilets at any one time - Sufficient stocks of soap/paper towels, lidded waste receptacles in place and replenished regularly. - Occupants instructed/ signage to flush toilet with the lid closed. - Signage in place to ensure handwashing reminders - E-Bug posters on display for pupils - Regular age appropriate reminders issued to staff/pupils; High; Because of how our classrooms are set up we will have to use the outside two of the three toilets. Staff to be given a toilet they must use. See plan. We don’t have lidded waste receptacles in the toilets, but can move more into the classrooms. YES YES YES YES; Lidded bins have been purchased for the toilets.. Hazards in relation to managing incidents and emergencies First Aid/ Accidents/ Incidents/ Emergencies Staff or pupil becoming unwell with COVID-19 symptoms whilst on site; - Emergency procedures reviewed to ensure that arrangements remain valid for Fire Safety Management. - Suitable follow-up procedures to be taken following potential infection exposure incidents. (in line with current Public Health England and updated HSE RIDDOR guidance circulated to Schools) - Social distancing enforced where possible at assembly points. - At least one person with a paediatric first aid certificate will be premises at all times when children are present - Suitable first aid First aid kits in place – updated to include (where already not supplied) IIR surgical masks and rubber gloves, hand sanitisers for close contact first aid treatment. - Ensure First Aiders for the premises are issued with the current advice and guidance School Emergency Plan/ crisis management plans in place - All staff aware of their responsibilities to report safety concerns, ill health, damage, defects, accidents or incidents in line with exiting school policy. - Pupils – Individual healthcare plans in place for pupils who require them. - Pupils - Separate individual risk assessment/ healthcare / behaviour management plans and external support accessed where required to determine if the child or young person can safely attend where 121 care or support is not available for them - Referrals made to occupational health as appropriate - Deep cleans undertaken in line with National Guidance as required following confirmed COVID-19 incident; See previous. Yes all staff as far as possible to know current guidelines from DFE publications. Yes Yes Yes Pupil allergies identified where applicable Any first aid certificate that expired on or after the 16th March and cannot access requalification training because of coronavirus may qualify for a 3 month extension up until the 16th June Yes Yes Yes before certain identified children can be accepted into their class Bubble can we make it safe for them and staff? Yes Yes; DH weekly checks and practices. DH Public Health England. DH/JF to check. Daily for each bubble. DH to cover this in his induction. DH as part of induction. SENCO after union OK/DH from 2/6/2020 SENCO after union OK/DH from 2/6/2020. Hazards due to the lack of suitable PPE Where carrying out close personal care tasks and unable to maintain 2m social distancing measures.; - Staff pupils to be fit/well to attend setting - Local risk assessments/ individual healthcare plans/ behaviour management plans reviewed and followed to identify PPE requirements in line with current guidance - PPE to be fit for purpose/ approved specification - Where PPE/ RPE provided staff provided with training and instruction in its use. - Local compliance to be monitored by Head teachers as far as reasonably practicable - Guidance provided to staff in relation to the use and wearing of their own face coverings; Staff and pupils and parents aware of current guidance on COVID-19 signs and symptoms - Telephone ordering process in place for weekly supplies of PPE 0800 783 1967 Putting on and taking off PPE PHE guidance; Constant reminders and updates from DH. DH to make staff aware of this info. DH to review staff awareness and good practice regarding PPE and social distancing.. Hazard Description and How are people at risk; - Additional Control Measures to consider for September opening - PREMISES; Potential Risk; Additional Control Measures (To be identified and Implemented); Action Details by Whom by When; Residual Risk. Spread of COVID-19 School Operations/ Management; - Desks will be arranged to face forward with pupils sitting side by side - All usual pre-term building checks will be carried out before school opens in Autumn term The following documents are available to download from the Schools Portal - Catch it, kill it, bin it poster displayed - Annual School Premises H&S inspection checklist; 10-Medium Risk L5 x S2; This is done in all classes from Y1 to Y6. Additional space for SEND provision has been constructed outside each class to maintain bubbles for these children. SEND children will work individually in places that staff can work with them from above and behind, Done, including marking out of spaces for playtimes and child drop-off and pick-up places. The posters are displayed around school. Govs will assist with inspecting these changes.; All staff aware of why desks are positioned as they are and how we should approach and work with the children. All staff to support each other in this becoming embedded. DH/AB/SL carry out Gov’s safety check before term starts. AB/DH mark out safety spacing lines at entrances to school and outside classrooms. SB to generate and laminate appropriate posters for toilets and outside spaces.; 8 - Medium Risk L4 x S2... Assessment Conclusion; Providing the stated control measures are implemented and adhered to the risk of contracting most viral infections can reduce to a manageable level in normal circumstances. Compliance with this risk assessment should be monitored and reviewed to ensure control measures remain effective.. |  |
| --- | --- | --- |

To be completed by the Individual undertaking the risk assessment: Name: David Holmes Job Title: Signature: Date:

To be completed by the Head teacher: I consider this risk assessment to be suitable and sufficient to control the risks to the health and safety of both employees undertaking the tasks involved and any other person who may be affected by the activities. Name: David Holmes Job Title: Signature: Date: 26/5/2020 28/8/2020 D. Holmes

Links to Guidance

Premises/ Building Management

Managing the School Premises, which are partially open, during the coronavirus outbreak

During partial or full closure, educational settings continue to be responsible for a range of health and safety measures and statutory compliance. See the DfE health and safety section of good estate management for schools. These documents and your own existing building related information i.e. your water hygiene risk assessments, fire risk assessment, asbestos monitoring records, and competent person reports will help you during the planning process

Cleaning - COVID-19 cleaning of non-healthcare settings

Staff, Pupils and Others

Those who are clinically vulnerable, or are living with someone who is, should follow protective measures guidance.

Implementing protective measures in education and childcare settings

Conducting a SEND risk assessment during the Coronavirus outbreak

Guidance on hand cleaning

Kids life skills – self-care- going to the toilet

Education, health and care needs assessments and plans: guidance on temporary legislative changes relating to coronavirus (COVID-19)

Personal Protective Equipment - PPE

PHE guidance to putting on and removing (Donning and Doffing) PPE

Travel

Safer travel guidance for passengers